| I. Boiler data |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. Type: | 2. Serial number: | 3. Power: |
| 4. Production year: | (((((( | 5. Date of purchase: | (((((( | 6. Commissioning date: | (((((( |
| II. User data | Należy wypełnić czytelnie |
| 1. Surname (((((((((((((((((((((((((((((((( |  |
| 2. Name ((((((((((((((((((((((((((((((((((( |  |
| 3. Address (((((((((((((((((((((((((((((((((( ((((((((((((((((((((((((((((((((((((((( City ((((((((((((((((((((((((((( ZIP ((((( |  |
| 4. Telephone ((((((((( | 4a.Telephone II ((((((((( |  |

| III. Chimney | Inner diameter | Height [m] |
| --- | --- | --- |
| (160 | (180 | ( normal | ( abnormal |  |
| (200 | (210 |  |  |  |
| Chimney protection against condensate | ( INOX steel | ( heat resistant |  |
|  | ( ceramic | ( not protected)* |  |
| Protection against boiler overheating | ( min. 4 KW | ( min. 15 KW | ( water heater | ( radiators |
|  | ( min. 5 KW | ( min 25 KW | ( accumulation tank | ( tank+ thermostatic valve |
|  | ( min. 8 KW | ( other............ | ( other | ( not protected |
| IIIa. Boiler protection Protection against low temperature corrosion | ( 4-way valve | ( 3-way valve+ pump | ( thermoregulator | ( other | ( not protected |
| IV. Ventilation | ( normal |  | V. Wood humidity [%]: 15 – 25% | ……………..........… |
|  | ( abnormal |  | ( normal | ( abnormal | ( measured |  |
| VI. Boiler selection Approximate heat demand of the building calculated according to formula: | {heated space [m]} x {space height [m]} x {0,05 [kW]} |  |
| VII. Check-list during commissioning |
| 1. | Inspection of boiler tightness | Serviceman signature & stamp |
| 2. | Inspection of chimney’s connection tightness |  |
| 3. | Inspection of electrical connections |  |
| 4. | Inspection and regulation of boiler’s doors |  |
| 5. | Inspection and regulation of primary and secondary air |  |
| 6. | Inspection and regulation of the controller |  |
| 7. | Instruction of user In scope of boiler’s operating and maintenance (startup, fuel, cleaning) |  |
| SERVICEMAN’S REMARKS | Niepotrzebne skreślić Niepotrzebne skreślić | USER’S REMARKS User’s signature |
| Warranty deemed |  |  |
| Warranty reduced ............................................................ |  |  |
| Warranty will be deemed after ................................................. ................................................. ................................................. ................................................. ................................................. ................................................. ................................................. ................................................. ................................................. |  |  |